|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Company name:** |  | **FAO:** |  | |
| **Project name:** |  | **Project number:** |  | |
| **Project address:** |  | **Required delivery date (dd/mm/yy):** | |  |
| **Delivery address:** |  | | | |

**Trent Lift,** **Hydraulic lift, 0.15m/s**

|  |  |
| --- | --- |
| **Shaft data** | **Shaft:**  Brick shaft Concrete shaft Metal structure shaft Shaft to be supplied with the lift  **Shaft Dimensions:**  Shaft dimensions [WxD]: 1280 x 1450  [mm]  Headroom: 2300 [mm] Pit: 200 [mm]  **Landing Doors:**  Number of landing doors:       (Entrances).  Automatic side opening landing doors  **Landing doors finish:**  Stainless steel    Fire rated landing doors E120    **Landing operating panels LOP:**  Landing operating panels without position indicators  Landing operating panels with position indicators  **Landing Architraves:**  Stainless steel |

**Items marked  are provided as standard**

|  |  |
| --- | --- |
| **Mains power available** | 1x 240vac + Neutral wire , 16A |
| **Lift data** | Number of floors:      Floor designation:-1 ,0,1,2,3  Characters available:  -1,0,1,2,3,4  Total travel:      [mm]  Rated load:400[Kg]  Number of passengers: 5  Rated speed:\_0.15\_[m/s]  Short floors: |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Car data** | **Car Doors**:    Automatic side opening to the left (as seen from the landing ).    Automatic side opening to the right (as seen from the landing).    **Car doors finish:**  Stainless steel  **Car interiors:**    Laminate: (mark colour on page 5)  Hand rail Miror (half size)  **Car Telephone :**  Wall mounted telephone (standard)  COP mounted telephone (recessed telelephone with keypad)  **Door opening at the landings:**     |  |  |  |  | | --- | --- | --- | --- | |  | Door 1 | Door 2 | Door 3 | | Floor 1 |  |  |  | | Floor 2 |  |  |  | | Floor 3 |  |  |  | | Floor 4 |  |  |  |   Braille pushes Green rim for main landing car push |

|  |  |
| --- | --- |
| **Machine-room data** | **Lift machine room**:  Oil heater required (when ambient temperature is likely to drop below 5 ºC)  Control panel door hinged on the left  right  Oil collector beneath the power unit |
| **Emergency** | Emergency automatic doors opening  Lift operative for down calls only during power outage |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | | **D** | D pit        mm | D1        mm | D2        mm | D3        mm | D headroom        mm | | **F** | m | | | | | | **A** | m | | | | | |

**CAR OPTIONS**

A B C D E F G

3

2

2

1

1

1

1

1

1

2

1

A

2

F

E

D



B

C

G

|  |  |
| --- | --- |
| **Choose**  **Ceiling**  **Option** | LED lamps |

|  |  |
| --- | --- |
| **Choose**  **Interior**  **Colour** |  |

|  |  |
| --- | --- |
| **Choose**  **Floor**  **Option** |  |

**Choose LOP Option**

Main landing LOP

Intermediate landing LOP

**LOP4**

**LOP3**

**LOP2**

**LOP1**



Scaefer RT42 buttons



Landing call disable key

switch

INUSE



**IN USE**



**COP**



**IN USE**



Schaefer RT42 buttons

Overload indicator

Car calls disable key switch

